## Specifiche
Specifiche minime del radiometro
Sistema
Radiometro a microonde | Misure della temperatura di brillanza sia nella banda del vapore acqueo che nella banda dell’ossigeno
Canali nelle microonde | 21 K-Band (22-30 GHz) per il vapore acqueo
Canali nelle microonde | 14 V-Band (51-59 GHz) per la temperatura
Base e altezza delle nubi | Ricavata dal sensore a infrarossi
Profili | Recupero dei profili di temperatura, umidità e variabili legate all'acqua/vapore: dal punto di misura fino ad almeno 8 km
Inclusi nel sistema
Mitigazione dell'effetto pioggia
Sensori di temperatura e umidità del sito
Sensore di Pressione
GPS Ricevitore (GPS Tempo e Posizione)
Algoritmo per il recupero dei profili basato su reti neurali
Computer di controllo pre-configurato con software e scripts predisposti
Sistema di protezione dalle scariche elettriche
Manuale utente
Caveria: tutta la necessaria
Asciugatore dotato di filtri dell'aria
Sistema di calibrazione automatica, senza azoto liquido, che controlla la performace del radiometro
Valigia per il trasporto del radiometro riutilizzabile
Accessori e Software
Sensore a infrarossi per la base delle nubi
Software per il controllo della calibrazione del radiometro
Treppiede in materiale anti ossidante, trasportabile
Parti di ricambio
Set di utensili per il radiometro
Parti di ricambio e materiale di consumo per almeno 4 anni (#quantità)
Filtri (#12)
Radome (#24)
Scheda sensore pioggia (#5)
Finestra del termometro a infrarossi (#3)
Termometro a Infrarossi (#1)
Sensore di temperatura e umidità (#1)
Corso di formazione
Installazione e messa in servizio da remoto, seguita da supporto via e-mail
Spedizione | Aeroporto internazionale di Venezia o in alternativa sede del Centro Meteorologico di Teolo ARPAV, via G. Marconi 55 - 35037 Teolo (PD) - Italia
Formato dei dati | formato ASCII

## Requirements
Minimal requirements radiometer
System
Microwave radiometer | Measures Brightness Temperature in both Water Vapor and Oxygen bands
Factory-Calibrated Microwave Channels | 21 K-Band (22-30 GHz) for water vapor
Factory-Calibrated Microwave Channels | 14 V-Band (51-59 GHz) for temperature
Cloud Base Temperature and Height | Retrived with infrared Cloud Base Temperature Sensor
Profiles | Retrievals provide temperature, humidity and liquid profiles: from the surface till to 10 km
System includes
Rain Effect Mitigation
Surface Temperature and Humidity Sensors
Pressure Sensor
GPS Receiver (GPS Time and Position)
Retrieval Algorithm for a single customer-identified location based on Neural Network
Control Computer pre-configured with operating codes and software
Surge protection system for high-lightning areas
User Manual
Cables: all necessary
Superblower air filter
Continuous automatic radiometer calibration system, without liquid nitrogen, which detects the performance trend of the radiometer
Reusable Shipping Container
Accessories and Software
Infrared Cloud Base Temperature Sensor
Control and calibration Software
Portable Non-Corroding Tripod
On-site Spare Parts
Radiometer Tool kit
Spare Parts and Consumables Kit for at least 4 year (#quantity)
Filter (#12)
Radome (#24)
Rain Sense Board (#5)
Infrared thermometer windows (#3)
Infrared thermometer (IRT) (#1)
Surface temperature and RH sensor (#1)
Remote installation course
Remote installation and commissioning, followed by e-mail support
Shipping | Venice International Aeroport otherwise at the "Centro Meteorologico di Teolo ARPAV", via G. Marconi 55 - 35037 Teolo (PD) - Italy
Data Format | ASCII format